## Sheet1
Notice Number | Alert Type | Notice Title | Date Released | Update/ Additional Information
DB2008(03) | Device Bulletin | Lasers, intense light source systems and LEDs – guidance for safe use in medical, surgical, dental and aesthetic practices | 2015-09-18 | - | -
DB(2015)01 | Device Bulletin | Managing Medical Devices - Guidance for healthcare and social services organisations | 2015-06-16 | - | -
EFA/2015/006 | Estates & Facilities Alert | Fire door self-closing devices | 2015-12-04 | - | -
EFA/2015/005 | Estates & Facilities Alert | Plug-in Switch Mode Power Supply (SMPS) | 2015-11-16 | - | -
EFA/2015/004 | Estates & Facilities Alert | Grundfos - Conlift Pumps – Limited Recall | 2015-06-10 | - | -
EFA/2015/003 | Estates & Facilities Alert | Flush fitting Vandal and Tamper Proof light fittings in Mental Heath Environment and high risk areas | 2015-04-15 | - | -
EFA/2015/002 | Estates & Facilities Alert | Safe use of Liquid Drain Cleaners | 2015-04-15 | - | -
EFA/2015/001 | Estates & Facilities Alert | Window blinds with looped cords or chains. All types. | 2015-01-21 | - | -
FSN/2015/007 | Field Safety Notice | BD Plastipak Syringes/ BD Oral Syringes | 2015-10-12 | Response form | -
FSN/2015/006 | Field Safety Notice | Liko® Viking® L, Viking® M, Viking® XL, and Viking® 300 Mobile Lifts – Potential Actuator Damage | 2015-09-07 | - | -
FSN/2015/005 | Field Safety Notice | Medtronic MiniMed Sure-T™ Infusion Sets | 2015-06-16 | - | -
FSN/2015/004 | Field Safety Notice | Improper assembly of GE Healthcare T2100 and T2000 Treadmill power cords | 2015-06-11 | - | -
FSN/2015/003 | Field Safety Notice | GE Healthcare T2100 Treadmill Uncontrolled Walking Belt Motion | 2015-06-11 | - | -
FSN/2015/002 | Field Safety Notice | Covidien OxiMax™ N-65 Handheld Pulse Oximeter, and OviMax™ N-560 Pulse Oximeter | 2015-05-22 | - | -
FSN/2015/001 | Field Safety Notice | Keeler Diagnostic Wall Unit - plug Power Supply | 2015-03-06 | - | -
ISN/2015/009 | Internal Safety Notice | Computers on Wheels Hygia & Levitator Carts supplied by Parity Medical | 2015-10-07 | - | -
ISN/2015/008 | Internal Safety Notice | Risk of staff needlestick injury from patient self administration insulin pens | 2015-06-25 | - | -
ISN/2015/007 | Internal Safety Notice | Inappropriate Disposal of Healthcare Waste (Sharps) | 2015-05-18 | - | -
ISN/2015/006 | Internal Safety Notice | Rigid Lateral Transfer Boards e.g. Patslides | 2015-05-15 | - | -
ISN/2015/005 | Internal Safety Notice | Overheating battery issue | 2015-04-22 | - | -
ISN/2015/004 | Internal Safety Notice | Proper close down procedures after work | 2015-04-22 | - | -
ISN/2015/003 | Internal Safety Notice | Lead Hand used in Surgery | 2015-04-21 | - | -
ISN/2015/002 | Internal Safety Notice | Mailbox Medicine Cupboards | 2015-02-20 | - | -
ISN/2015/001 | Internal Safety Notice | Unauthorised fridges | 2015-02-09 | - | -
MDA/2015/039 | Medical Device Alert | Home use blood glucose monitoring system: GlucoMen LX Sensor test strips – risk of over-estimation of blood glucose | 2015-12-22 | - | -
MDA/2015/038 | Medical Device Alert | Cardiac Resynchronization Therapy Pacing (CRT-P) – Risk of loss of pacing therapy Medtronic InSync III | 2015-12-09 | - | -
MDA/2015/037 | Medical Device Alert | Sapphire multi-therapy and epidural pumps – update to instructions for use regarding fluctuations in flow rate accuracy in epidural mode | 2015-11-18 | - | -
MDA/2015/036 | Medical Device Alert | Testicular implants and inflatable vaginal stents – temporary suspension of the CE certificate | 2015-10-15 | - | -
MDA/2015/035 | Medical Device Alert | Enteral syringe pumps P500, P700 and P900 – recall because CE marking is invalid | 2015-09-29 | - | -
MDA/2015/034 | Medical Device Alert | Implantable medical devices manufactured by Silimed- temporary suspension of the CE certificate | 2015-09-25 | - | -
MDA/2015/033 | Medical Device Alert | Sterile electrosurgical forceps and electrodes. Manufactured by Zethon Limited and Ross Electro Medical Limited | 2015-08-26 | - | -
MDA/2015/032 | Medical Device Alert | Charging base for surgical hair clippers - recall of specific lots due to risk of fire | 2015-08-25 | - | -
MDA/2015/031 | Medical Device Alert | Home-use blood glucose monitoring system: Accu-Chek® Mobile meter and Accu-Chek® Mobile test cassette – manufactured by Roche Diabetes Care | 2015-08-18 | - | -
MDA/2015/030 | Medical Device Alert | Shiley neonatal and paediatric tracheostomy tubes, manufactured by Medtronic (previously Covidien): specific product and lot numbers are affected | 2015-08-05 | - | -
MDA/2015/029 | Medical Device Alert | All Accu-Chek® Insight insulin pumps - risk of hyperglycaemia from rapid pump battery depletion or unexpected shut down | 2015-08-04 | - | -
MDA/2015/028 | Medical Device Alert | Automatically retracting safety syringes including insulin syringes by Medicina Ltd - recall | 2015-08-04 | - | -
MDA/2015/027 | Medical Device Alert | Steel cannula infusion sets manufactured by Unomedical a/s – risk of needle breaking in use | 2015-07-23 | - | -
MDA/2015/026 | Medical Device Alert | Haemodialysis CRIT-LINE® blood chamber with product code CL10021021 - recall due to risk of blood loss | 2015-07-21 | - | -
MDA/2015/025 | Medical Device Alert | TransWarmer infant transport mattress, NovaPlus TransWarmer infant heat therapy mattress with WarmGel, infant heel warmer - risk of serious burn | 2015-07-06 | - | -
MDA/2015/024 | Medical Device Alert | Metal-on-metal (MoM) hip replacements: Birmingham Hip™ Resurfacing (BHR) system (Smith & Nephew Orthopaedics) | 2015-06-25 | - | -
MDA/2015/023 | Medical Device Alert | Kent and Ascot baths with a transfer seat and shepherd’s crook / shower pole fitted - risk of serious injury | 2015-06-23 | - | -
MDA/2015/022 | Medical Device Alert | Heater-cooler devices used during cardiac surgery: risk of infection with Mycobacterium species. All manufacturers | 2015-06-11 | - | -
MDA/2015/021 | Medical Device Alert | Philips ventilators: BiPAP autoSV/BiPAP autoSV Advanced devices | 2015-05-21 | - | -
MDA/2015/020 | Medical Device Alert | Specific ResMed ventilators with Adaptive ServoVentilation (ASV) - increased risk of cardiovascular death in patients who have a specific heart condition | 2015-05-13 | Philips FSN | Medtronic FSN
MDA/2015/019 | Medical Device Alert | All Birdie mobile hoists (lifters) manufactured by Invacare - change to the design of the carabiner used to hold the spreader bar in place | 2015-04-28 | - | -
MDA/2015/018 | Medical Device Alert | All posture or safety belts fitted to supportive seating, wheelchairs, hoists and bathroom equipment - risk of serious injury or death | 2015-04-21 | - | -
BS EN ISO 80369 | Medical Device Alert | Small Bore Connectors for Liquids and Gases in Healthcare Applications - letter from the Office of the Chief Medical Officer | 2015-04-15 | - | -
MDA/2015/017 | Medical Device Alert | Dental panoramic X-ray systems – CS 8100 and CS 8100 3D. Manufactured by Carestream Health between June 2012 and September 2014 | 2015-04-10 | - | -
MDA/2015/016 | Medical Device Alert | All Mackworth Healthcare Ltd slings fitted with a DOSEC(r) clip - manufacturer guidance update - Not distributed in NHSGGC | 2015-04-02 | - | -
MDA/2015/015 | Medical Device Alert | Hudson RCI© humidifier adaptors and Aquapak sterile water with humidifier adaptors - risk of inhaling plastic pieces | 2015-04-01 | - | -
MDA/2015/014 | Medical Device Alert | V-Green spinal needle 25G pack - incorrect size of introducer needle supplied in the pack | 2015-03-26 | - | -
MDA/2015/013 | Medical Device Alert | Enteral feeding devices and accessories, syringes, plasters, dressings and rectal straws - invalid CE markings | 2015-03-24 | - | -
MDA/2015/012 | Medical Device Alert | INRatio® and INRatio®2 PT/INR coagulation monitor and test strips used at home and at point of care. Manufactured by Alere. | 2015-03-19 | - | -
MDA/2015/011 | Medical Device Alert | Satella-X ceiling suspended skull x-ray unit - tube and detector arm may drop to the floor | 2015-03-17 | - | -
MDA/2015/010 | Medical Device Alert | PadPro and R2 multifunction electrodes manufactured by Conmed. Intended for use with the Philips HeartStart FR3 Defibrillators and FRx AEDS | 2015-03-12 | MDA/2015/010 FSN | -
MDA/2015/009 | Medical Device Alert | Defibrillation electrodes for children manufactured by Leonhard Lang. Supplied under various brand names and product codes | 2015-03-06 | - | -
MDA/2015/008 | Medical Device Alert | Breathing system components. Various product codes and specific batches. Manufactured by Inmed, supplied by Teleflex | 2015-03-03 | - | -
MDA/2015/007 | Medical Device Alert | Vyclic Colour 3-way stopcock 2FL/1ML manufactured by Vygon | 2015-02-25 | - | -
MDA/2015/006 | Medical Device Alert | Medical devices supplied by Atrium Medical a subsidiary of Maquet | 2015-02-20 | - | -
MDA/2015/005 | Medical Device Alert | CEMTM nosecones for use with CUSA® Excel/Excel+ ultrasonic aspirator. Manufactured by Integra LifeSciences. | 2015-02-18 | - | -
MDA/2015/004 | Medical Device Alert | Endobronchial tubes manufactured by Teleflex Medical: potential failure to ventilate the patient if Cobb connector detaches from main connector | 2015-02-04 | - | -
MDA/2015/003 | Medical Device Alert | Negative pressure wound therapy. Renasys™ range manufactured by Smith & Nephew | 2015-01-21 | - | -
MDA/2015/002 | Medical Device Alert | HomeChoice automated peritoneal dialysis system and HomeChoice PRO automated peritoneal dialysis system manufactured by Baxter Healthcare Ltd | 2015-01-20 | - | -
MDA/2015/001 | Medical Device Alert | All Accu-Chek Spirit Combo Insulin Pumps. Manufactured by Roche Diagnostics Ltd | 2015-01-16 | - | -
RAN/2015/005 | Risk Awareness Notice | Use of gallipots for injectable medicines – risk of harm | 2015-09-30 | - | -
RAN/2015/004 | Risk Awareness Notice | Wall and Emergency Suction | 2015-08-14 | - | -
RAN/2015/003 | Risk Awareness Notice | Sidhill Inspiration Cots | 2015-07-08 | - | -
RAN/2015/002 | Risk Awareness Notice | Risk of death from asphyxiation by accidental ingestion of fluid/ food thickening powder | 2015-03-16 | RAN/2015/002 Additional | -
RAN/2015/001 | Risk Awareness Notice | Hand Warmers – in patient use and risk of injury | 2015-02-10 | - | -
SAN(SC)15/04 | Safety Action Notice | Risk of death and serious harm by falling from hoists | 2015-11-27 | - | -
SAN(SC)15/03 | Safety Action Notice | Managing risks during the transition period to new ISO connectors for medical devices | 2015-05-19 | - | -
SAN(SC)15/02 | Safety Action Notice | Risk of severe harm and death from unintentional interruption of non-invasive ventilation | 2015-05-12 | - | -
SAN(SC)15/01 | Safety Action Notice | Adverse event/incident reporting and safety warning cascades for medical devices, laboratory equipment, estates & facilities equipment and social care equipment - Not distributed in NHSGGC | 2015-01-14 | - | -