## Risk Assessment Form

Use this form for any detailed risk assessment unless a specific form is provided. Refer to your Summary of Hazards/Risks and complete forms as required, including those that are adequately controlled but could be serious in the absence of active management. The Action Plan and reply section is to help you pursue those requiring action.

| Name of Assessor: | Health and Safety Services Acute | Post Held: |  |
| --- | --- | --- | --- |
| Department: | Health and Safety | Date: |  |
| Subject of Assessment: E.g.: hazard, task, equipment, location, people |
| Procurement and Use of portable electric fans (bladed and closed units) within the workspace Following a local assessment there may at times be a need to introduce secondary means of air circulation. Prior to any purchase or use local Estates should be contacted to ascertain if there are any other local measures which could be adopted – eg reduction or lowering of room temperature, freeing or opening of windows or fixed vents. Further guidance is available: NHSGGC Workplace Temperature Guidance NHSGGC Work Equipment guidance In addition services must be cognisant of any clinical risk that may be associated with, introduced by or exacerbated by the use of this type of equipment |
| Hazards (Describe the harmful agent(s) and the adverse consequences they could cause) |
| Infection or cross contamination Entrapment Trip Electric shock Fire |
| Description of Risk Describe the work that causes exposure to the hazard, and the relevant circumstances. Who is at risk? Highlight significant factors: what makes the risk more or less serious – e.g.: the time taken, how often the work is done, who does it, the work environment, anything else relevant. |
| All staff should be cognisant that due to the nature of clinical activity within their areas there may be a risk of spreading of infection/contaminants through the use of portable fans. Fans due to their manufacture will have an electric cable with the possible introduction of a trip risk to staff patients and visitors Fans due to their manufacture and intended use have moving parts which may introduce the risk of entrapment and topple Risk of self harm or injury by patient or visitor due to lack of risk understanding Fans if not maintained or inappropriately used or during a cleaning regime may introduce the risk of electric shock due to the electrical components within. Fans if not properly maintained may introduce the risk of fire |

Existing Precautions

| Summarise current controls In place | Describe how they might fail to prevent adverse outcomes. |
| --- | --- |
| Local risk assessment undertaken and held within Health and Safety Management Manual Local assessment of need will be undertaken prior to the request for purchase (clinical and environmental) Equipment will only be sourced via NHS procurement Infection Control Guidance and advice must be utilised or sought where there is any dubiety in relation to risk of infection Cleaning regime must be agreed and implemented (where required with input from IC) Cleaning regime will include means and substances to be used for cleaning Equipment will be subject to local visual checks for any notable defects eg breaks or tears in cable, breaks or cracks in casing Maintenance regimes must be agreed with Estates, (Fans are portable and are therefore subject to Portable Appliance Testing this should be agreed and undertaken by Estates or an appointed contractor) Manufacturer’s guidance must be adhered to at all times. Any moving parts must be enclosed to prevent risk of entrapment Fans must be so positioned so as not to introduce a risk of trip (via cable) or topple over Where any equipment is deemed or thought to be faulty this will be removed from use, clearly marked as faulty DO NOT USE and Estates contacted for advice | Unable to access Human Error Human error Unable to contact or access Lack of understanding or knowledge Lack of knowledge or understanding Lack of suitable substances Human error/ time pressures Unable to undertake tasks Human error/lack of access to guidance Human error/restricted space Human error or moved by unauthorised person (patient) Human error |

Level of Risk - Is the control of this risk adequate?

Give more than one risk level if the assessment covers a range of circumstances. You can use the ‘matrix’ to show how ‘likelihood’ and ‘consequences’ combine to give a conclusion. Also, be critical of existing measures: if you can think how they might fail, or how they could be improved, these are indications of a red or orange risk.

Risk Matrix

| Likelihood |  | Impact/Consequences |  |
| --- | --- | --- | --- |
|  | Negligible | Minor | Moderate | Major | Extreme |
| Almost Certain | Medium | High | High | V High | V High |
| Likely | Medium | Medium | High | High | V High |
| Possible | Low | Medium | Medium | High | High |
| Unlikely | Low | Medium | Medium | Medium | High |
| Rare | Low | Low | Low | Medium | Medium |

Very High                          High                           Medium                      Low

Current risk level

Given the current precautions, and how effective and reliable they are, what is the current level of risk? Green is the target – you have thought it through critically and you have no serious worries. Devise ways of making the risk green wherever you can. Yellow is acceptable but with some reservations. You can achieve these levels by reducing the inherent risk and or by effective and reliable precautions.

High (Orange) or Very High (Red) risks are unacceptable and must be acted on: use the Action Plan section to summarise and communicate the problems and actions required.

## Action Plan (if risk level is High (Orange) or Very High (Red))

Use this part of the form for risks that require action.  Use it to communicate, with your Line Manager or Risk Coordinator or others if required.  If using a copy of this form to notify others, they should reply on the form and return to you.  Check that you do receive replies.

Describe the measures required to make the work safe.  Include hardware – engineering controls, and procedures.  Say what you intend to change.  If proposed actions are out with your remit, identify them on the plan below but do not say who or by when; leave this to the manager with the authority to decide this and allocate the resources required.

| Proposed actions to control the problem List the actions required. If action by others is required, you must send them a copy | By Whom | Start date | Action due date |
| --- | --- | --- | --- |
| All areas should undertake local risk assessment All areas should assess any current equipment in situ and ensure it meets the requirements as detailed in sections above Where there is any dubiety advice should be sought from the respective Department or Service |  |  |  |

# Action by Others Required - Complete as appropriate: (please tick or enter YES, name and date where appropriate)

| Report up management chain for action |  |
| --- | --- |
| Report to Estates for action |  |
| Contact advisers/specialists |  |
| Alert your staff to problem, new working practice, interim solutions, etc |  |

##### Reply

##### If you receive this form as a manager from someone in your department, you must decide how the risk is to be managed.  Update the action plan and reply with a copy to others who need to know.  If appropriate, you should note additions to the Directorate / Service Risk Register.

If you receive this as an adviser or other specialist, reply to the sender and investigate further as required.

| Assessment completed - date: |  | Review date: |  |
| --- | --- | --- | --- |

# Text boxes

ID: