Advice Request on Decontamination of Medical Devices

Complete and return to

ggc.infectioncontroldecontamination@ggc.scot.nhs.uk

| Date | Requesting Person | Contact Details |
| --- | --- | --- |
| 4/42016 | MORAG CLARK RGN | 201 [8]0035 |
| Name of device | BARD BIOPSY GUN |
| Use (including type of patient and procedure | CORE BIOPSY [BREAST] |
| Reason for new device |  |
| Manufacturer | Re-usable / Single Use? |
| BARD | REUSABLE |
| Query | Do we need an individualised decontamination process sheet for this device? If so where do we get this from? |
| Details of manufacturers recommended decontamination | Clean with detergent wipes after each use unless visibly contaminated. Once weekly autoclaving. |
| Recommendation of Decontamination Group | The group advise single-use or send to Cowlairs CDU for cleaning and sterilization. Service users should review the current market for disposable items. |
| Date | 21/08/2017 |