Request for Advice on Decontamination of Medical Devices

Complete and return to

ggc.infectioncontroldecontamination@ggc.scot.nhs.uk

| Date | Requesting Person | Contact Details |
| --- | --- | --- |
| 14/08/2017 | Alex Connell | 0141 314-9575 |
| Name of device | Lancer Storage Cabinet FD8 and FD8E |
| Use (including type of patient and procedure) | Used to store endoscopes after decontamination and prior to patient use for 7 days. |
| Reason for new device | N/A |
| Manufacturer | Reusable / single use? |
| Lancer Uk Ltd | Reusable |
| Query | To increase storage time to 14 days to reduce the volume of emergency scopes being reprocessed due to scopes expiring. |
| Details of manufacturers recommended decontamination |  |
| Recommendation of Decontamination Group | It was agreed at the Decontamination Group and the Infection Prevention and Control SMT that the storage time could be increased to 14 days. |
| Date | 04/09/2017 |