Advice Request on Decontamination of Medical Devices

Complete and return to

ggc.infectioncontroldecontamination@ggc.scot.nhs.uk

| Date | Requesting Person | Contact Details |
| --- | --- | --- |
| 29/05/2017 | Stewart Milne | 24620 |
| Name of device | Optiflow THRIVE |
| Use (including type of patient and procedure | Pre-oxygenation |
| Reason for new device | New technique |
| Manufacturer | Re-usable / Single Use? |
| Fisher and Paykel | Waterbath replaced every 24 hours. Nasal cannula and filter are single patient use. In practice in GRI the whole kit will be single patient use |
| Query | None. Been requested to do |
| Details of manufacturers recommended decontamination | Dispose of single patient unit after every patient. Replace waterbath every 24 hours (in GRI the whole unit will be single use). |
| Recommendation of Decontamination Group | The Decontamination Group class the whole unit as single-use therefore there are no issues with its use. |
| Date | 29/05/2017 |