Advice Request on Decontamination of Medical Devices

complete and return to

ggc.infectioncontroldecontamination@ggc.scot.nhs.uk

| Date | Requesting Person | Contact Details |
| --- | --- | --- |
| 15/06/2017 | John Gaffney | 01475 504717 |
| Name of device | Xario 200 Console and probe |
| Use (including type of patient and procedure | Ultrasound machine for TRUS |
| Reason for new device | Service development |
| Manufacturer | Re-usable / Single Use? |
| Toshiba | reusable |
| Query | Which cleaning product should be used to decontaminate ultrasound equipment? |
| Details of manufacturers recommended decontamination | Cleanisept wipes |
| Recommendation of Decontamination Group | The use of theTristel 3-wipe process should be adopted for use with these probes. This has been carried out in other areas of NHSGGC. Contact details for the Tristel rep are LesleyMurray@tristel.com who can arrange teaching and provide order codes. |
| Date | 27/06/2017 |