Advice Request on Decontamination of Medical Devices

Complete and return to

ggc.infectioncontroldecontamination@ggc.scot.nhs.uk

| Date | Requesting Person | Contact Details |
| --- | --- | --- |
| 22/08/2017 | Graham Latta | g.latta@nhs.net |
| Name of device | Neonatal Transport Incubator |
| Use (including type of patient and procedure | Out of hospital transfer of neonates |
| Reason for new device | Not a new device |
| Manufacturer | Re-usable / Single Use? |
| Draeger | Re-usable |
| Query | Current recommendations for cleaning, following transfer of baby with CMV. |
| Details of manufacturers recommended decontamination |  |
| Recommendation of Decontamination Group | Follow Standard Infection Control Precautions – Clean with detergent wipes unless any blood and body fluid spillages. http://www.nhsggc.org.uk/media/236969/decontamination-sop-v6-mar-2016.pdf |
| Date | 04/09/2017 |