## Sheet1
Notice Number | Alert Type | Notice Title | Date Released | Update/ Additional Information
MDA/2016/023 | Medical Device Alert | Alaris® syringe pumps (all models) – risk of uncontrolled bolus of medicine with non-recommended syringes | 2016-12-22 | -
MDA/2016/021 | Medical Device Alert | Total intravenous anaesthesia sets (TIVA) – risk of leakage during use | 2016-10-31 | -
MDA/2016/020 | Medical Device Alert | Managing diabetes: patients should not change their insulin delivery device without checking with their healthcare specialist | 2016-10-26 | -
MDA/2016/019 | Medical Device Alert | Implantable cardioverter defibrillators (ICD) and cardiac resynchronisation therapy devices (CRT-D) – risk of loss of therapy due to rapid battery depletion | 2016-10-17 | -
MDA/2016/018 | Medical Device Alert | Physio-Control Automatic External Defibrillator / LIFEPAK CR Plus and/or LIFEPAK EXPRESS – Risk of failure to deliver a shock for certain serial numbers of this device | 2016-10-13 | -
MDA/2016/017 | Medical Device Alert | AIRVO™2 and myAIRVO™2 humidifier – risk of undetected auditory alarm | 2016-09-07 | -
MDA/2016/016 | Medical Device Alert | Accu-Chek® Insight Insulin pump system: risk of over- or under-infusion of insulin | 2016-09-01 | -
MDA/2016/015 | Medical Device Alert | Accu-Chek® Insight insulin pump system manufactured by Roche Diabetes Care with NovoRapid® PumpCart® cartridges – risk of hyperglycaemia | 2016-08-15 | -
MDA/2016/014 | Medical Device Alert | Home use blood glucose monitoring system: TRUEresult and TRUEtrack blood glucose test strips – risk of false low blood glucose results | 2016-08-10 | -
MDA/2016/013 | Medical Device Alert | SerenoCem Granules – risk of bone reabsorption around granules | 2016-08-04 | -
MDA/2016/012 | Medical Device Alert | VentStar Oxylog3000F (P) 190 Disposable paediatric ventilation circuit for Oxylog 3000 and Oxylog 3000 plus ventilators – risk of rebreathing exhaled gases | 2016-08-03 | -
MDA/2016/011 | Medical Device Alert | Babytherm® 8004/8010 Infant Warmer, manufactured by Drägerwerk AG & Co – risk of fire | 2016-08-02 | -
MDA/2016/010 | Medical Device Alert | RightSign HIV 1.2.O Rapid Test Cassette, HCV Rapid Test Cassette & HBsAg Rapid Test Cassette – devices may give incorrect results that could lead to a missed diagnosis | 2016-07-27 | -
MDA/2016/009 | Medical Device Alert | Home use blood glucose monitoring system: TRUEyou blood glucose test strips – risk of false low blood glucose results | 2016-06-30 | -
MDA/2016/008 | Medical Device Alert | Clinical chemistry tests: Siemens ADVIA Chemistry and Dimension/Dimension Vista products – risk of false low results due to interference with N-acetylcysteine (NAC) | 2016-06-22 | -
MDA/2016/007 | Medical Device Alert | Four Bipolar QuickSite and QuickFlex lead models – risk of worsening heart failure symptoms due to wear and/or abrasion of lead insulation after implantation | 2016-06-21 | -
MDA/2016/006 | Medical Device Alert | CADD® administration sets with Flow Stop free-flow protection manufactured by Smiths Medical ASD – risk of under-infusion | 2016-05-24 | -
MDA/2016/005 | Medical Device Alert | Accu-Chek® Insight insulin pump system, manufactured by Roche Diabetes Care – risk of inappropriate treatment | 2016-05-12 | -
MDA/2016/004 | Medical Device Alert | Estradiol immunoassays – interference from the drug fulvestrant (Faslodex®) may cause falsely elevated estradiol results | 2016-03-24 | -
MDA/2016/003 | Medical Device Alert | All ZeniPower mercury-free hearing aid batteries – low risk of batteries exploding during use or if depleted | 2016-03-10 | -
MDA/2016/002 | Medical Device Alert | Ambulatory syringe pumps (T34 and T60) and syringe extension sets used with the T34 pump, manufactured by Caesarea Medical Electronics (CME) | 2016-03-02 | -
MDA/2016/001 | Medical Device Alert | Various nebulizers and nebulization kits – risk of nebulizer not delivering therapy to the patient | 2016-01-26 | -
SAN(SC)16/04 | Safety Action Notice | Reducing the risk of oxygen tubing being connected to air flowmeters | 2016-10-26 | -
SAN(SC)16/03 | Safety Action Notice | Nasogastric tube misplacement: continuing risk of death and severe harm | 2016-10-14 | -
SAN(SC)16/02 | Safety Action Notice | Risk of using different airway humidification devices simultaneously | 2016-02-01 | -
SAN(SC)16/01 | Safety Action Notice | Adverse incident reporting and safety warning cascades for medical devices, laboratory equipment, estates & facilities equipment and social care equipment | 2016-01-05 | -
IM/2016/010 | Information Message | Scottish Book Trust: wooden egg shakers in Bookbug Toddler Bags | 2016-11-30 | -
EFA/2016/005 | Estates & Facilities Alert | Hager 10kA Miniature Circui8t Breaker | 2016-11-24 | -
IM/2016/008 | Information Message | ArjoHuntleigh chargers and KPA0100 battery packs for use with Tempo, Opera, Maxi Move (series II), Encore, Chorus hoists: Replace KPA0101-xx chargers with KPA2000-xx chargers | 2016-09-15 | -
EFA/2016/004 | Estates & Facilities Alert | Operating Theatre Ultra Clean Ventilation (UCV) canopies fitted with gel seal HEPA filters | 2016-07-21 | -
IM/2016/007 | Information Message | Report of HSE's Sharps Inspection Initiative 2015/16 | 2016-07-18 | -
IM/2016/006 | Information Message | Single-use medical devices: UK guidance on re-manufacturing | 2016-07-08 | -
IM/2016/005 | Information Message | Tumble Drier Fire Hazard | 2016-07-05 | -
EFA/2016/003 | Estates & Facilities Alert | Metal waste pipes used for the disposal of laboratory solutions and reagents containing sodium azide (NaN3) | 2016-07-04 | -
EFA/2016/002 | Estates & Facilities Alert | 13A electrical socket inserts (socket covers or protectors) | 2016-06-30 | -
EFA/2016/001 | Estates & Facilities Alert | Carbon steel press fit pipes for water heating systems: rapid corrosion and failure | 2016-05-04 | -
FSN/2016/007 | Field Safety Notice | LMA® Mucosal Atomization Devices Manufactured by Teleflex Medical | 2016-11-15 | -
FSN/2016/006 | Field Safety Notice | Medtronic - SynchroMed II Implantable Drug Infusion Pump | 2016-11-03 | -
FSN/2016/005 | Field Safety Notice | GE Healthcare - Potential Issue with printing previously acquired Diagnostic Resting Electrocardiograms (ECGs) for use as current ECG on patient | 2016-10-20 | -
FSN/2016/004 | Field Safety Notice | Arjo Sara Plus, Chorus or Encore lifts with exchanged knobs - Potential defect of knob | 2016-08-24 | -
FSN/2016/003 | Field Safety Notice | Medtronic, NIM® Standard Reinforced EMG Endotracheal Tube | 2016-07-08 | -
FSN/2016/002 | Field Safety Notice | Hill Rom Liko® Universal SlingBar 350, SlingBar 450 and SlingBar 600 | 2016-04-01 | -
FSN/2016/001 | Field Safety Notice | Unomedical Steel cannula Infusion sets - SURE-T, SURE-T Paradigm, contact detach, contact, Sub Q, neria, neria detach, neria multi, thalaset | 2016-03-31 | -
ISN/2016/005 | Internal Safety Notice | Risk of staff needlestick injury from patient self administration insulin pens | 2016-12-23 | -
ISN/2016/004 | Internal Safety Notice | Needlestick/ Sharps incidents | 2016-12-13 | -
Memo Dec 2016 |  | Appropriate dressing to be used following CVC removal to reduce risk of air embolism | 2016-12-13 | -
RAN/2016/007 | Risk Awareness Notice | RECENT CONFUSION AND INCIDENTS WITH MORPHINE INJECTIONS | 29/11//2016 | -
RAN/2016/006 | Risk Awareness Notice | Airvo2 (Fisher & Paykel) High Flow Nasal Oxygen System | 2016-10-10 | -
RAN/2016/005 | Risk Awareness Notice | Retained Dressing Products | 2016-07-18 | -
ISN/2016/003 | Internal Safety Notice | Sealing of Waste Bags | 2016-06-30 | -
RAN/2016/004 | Risk Awareness Notice | False negative results from Alere b-hcg test pregnancy tests | 2016-05-12 | RAN/2016/004 Follow-up
RAN/2016/003 | Risk Awareness Notice | Issue with central venous dialysis catheter | 2016-05-10 | -
RAN/2016/002 | Risk Awareness Notice | Risk of air embolism when taking out a central venous catheter (CVC) | 2016-04-07 | -
ISN/2016/002 | Internal Safety Notice | Pneumatic Transport System (QEUH) | 2016-03-31 | -
ISN/2016/001 | Internal Safety Notice | Risk of staff needlestick injury from patient self administration insulin pens – updated SAN from June 2015 | 2016-03-04 | -
RAN/2016/001 | Risk Awareness Notice | Reading of BMs above 27.8 | 13/01/2016 | -
CAN230 | Customer Advice Notice | Proact Medical, Handle Laryngoscope Standard Line Paediatric | 2016-12-22 | -