- Objectives

To ensure that, in accordance with Regulation 3 and 12, a system is in place to identify persons acting in the capacity of carer or comforter and to reduce their dose as far as possible.

- Responsibilities

Service Leads (SL) are responsible for ensuring that persons who might act in a capacity of carer or comforter do so knowingly and willingly.

- Procedure

Under normal circumstances no other person should need to be present during a procedure using ionising radiation.

When the condition of a patient justifies it, it may be helpful for another person to knowingly and willingly act in the capacity of carer or comforter.

In these cases the following should be considered:

- No carer or comforter should be pregnant unless in exceptional circumstances

- A person who is employed as a carer or any occupational helper capacity cannot act as a carer or comforter.

- Carer or comforters would normally be at least 16y old.

- Written information should be available explaining the approximate dose which will be received and an indication of the risk associated with this

- All possible steps will be made to minimise the dose to the person acting as carer or comforter

- An upper limit of 5mSv over a year per procedure will be adopted.