### 1.  	Objectives

The aim of this Quality Assurance (QA) Programme is to ensure robust procedures/plans are in place within NHS GG&C to fulfil the requirements of  IRMER17 Regulation 15 & Schedule 2, 1(d) & associated Guidance.

### 2.  	Responsibilities

Service Leads will ensure that Level 2 procedures are in place detailing the QA programme for each modality, consistent with National & Professional Standards & Guidance.

### 3.  	Procedures

The Level 2 procedure will include the following elements:

- Equipment testing prior to first clinical use

- Handover procedure

- Annual servicing and maintenance programme including Physics equipment surveys

- Patient dose survey

- QA testing schedule

- Responsibility for QA testing & recording

- Contingency plans

- Handover, Malfunction & Reporting Procedures